## Front Page
ALS COAL DIVISION
BMCC TEST WASTE MANAGEMENT FACILITY
| REPORT NO: | 2400-9999-01
| SAMPLED BY: | J. Tester
| SAMPLE DATE: | 24/05/2025

## Sampling Sites 1
ALS COAL DIVISION
BMCC TEST WASTE MANAGEMENT FACILITY
MONTHLY ANALYSIS AND TESTING REPORT
Units
| ALS Sydney Report No. |  | ES9999001
| REPORT NO: |  | 2400-9999-01
| Date of Sample |  | 45801 | 45801 | 45802 | 45802
| Site Name |  | T.S01 | T.S02 | T.S01 | T.S02
| Other Sample Id |  | BORE 1 | BORE 2 | BORE 1 | BORE 2
| Observations / Comments |  | Cloudy | Clear | Slightly cloudy | Clear
| Temperature | oC | 21 | 19.9 | 18.9 | 17.1
| pH | pH Units | 5.9 | 6.1 | 6.6 | 6.4
| pH Value | pH Units | 6.42 | 6.61 | 6.75 | 5.94
| Electrical Conductivity | µS/cm | 1265 | 398 | 400 | 195
| Electrical Conductivity @ 25°C | µS/cm | 1360 | 805 | 698 | 117
| Total Suspended Solids | mg/L | ---- | ---- | 6 | <5
| Standing Water Level | m | 5.41 | 3.11 |  | 2.92
| Flow Observation / Appearance |  | Low flow Clear | Pooled Cloudy | Mod level Clear | Low flow Clear
Dissolved Major Cations
| Fluoride | mg/L | 0.4 | 0.6 | 0.5 | 0.7
| Sulphate | mg/L | 24 | 31 | 26 | 33
| Total Dissolved Solids | mg/L | 310 | 405 | 320 | 415
| Alkalinity | mg/L | 140 | 165 | 145 | 170

## Sampling Sites 2
ALS COAL DIVISION
BMCC TEST WASTE MANAGEMENT FACILITY
MONTHLY ANALYSIS AND TESTING REPORT
Units
| ALS Sydney Report No. |  | ES9999001
| REPORT NO: |  | 2400-9999-01
| Date of Sample |  | 45801 | 45801 | 45802 | 45802
| Site Name |  | T.S01 | T.S02 | T.S01 | T.S02
| Other Sample Id |  | BORE 1 | BORE 2 | BORE 1 | BORE 2
| Observations / Comments |  | Cloudy | Clear | Slightly cloudy | Clear
| Temperature | oC | 20.5 |  | 18 | 16.6
| pH | pH Units | 5.9 | 6.1 | 6.6 | 6.4
| pH Value | pH Units | 6.42 | 6.61 | 6.75 | 5.94
| Electrical Conductivity | �S/cm | 1265 | 398 | 400 | 195
| Electrical Conductivity @ 25°C | µS/cm | 1360 | 805 | 698 | 117
| Total Suspended Solids | mg/L | ---- | ---- | 6 | <5
| Standing Water Level | m | 5.41 | 3.11 |  | 2.92
| Flow Observation / Appearance |  | Low flow Clear | Pooled Cloudy | Mod level Clear | Low flow Clear
Dissolved Major Cations
| Fluoride | mg/L | 0.4 | 0.6 | 0.5 | 0.7
| Sulphate | mg/L | 24 | 31 | 26 | 33
| Total Dissolved Solids | mg/L | 310 | 405 | 320 | 415
| Alkalinity | mg/L | 140 | 165 | 145 | 170

## Dust Results
ALS COAL DIVISION
BMCC TEST WASTE MANAGEMENT FACILITY
QUARTERLY ANALYSIS AND TESTING REPORT
|  |  | Report No. | 2400-9999-01
DUST DEPOSITION RESULTS
(g/m²/month)
GAUGE NO. | Other Sample Id | Month | INSOLUBLE SOLIDS |  | *COMBUSTIBLE MATTER | INCOMBUSTIBLE MATTER
T.D01 | DG #1 | 45717 | 2.6 |  | 0.8 |  | 1.8
T.D02 | DG #2 | 45717 | 0.6 |  | 0.4 |  | 0.2
|  | Exposure Days | 31
T.D01 | DG #1 | 45748 | 0.33 |  | <0.1 |  | 0.3
T.D02 | DG #2 | 45748 | 0.16 |  | <0.1 |  | 0.2
|  | Exposure Days | 30
T.D01 | DG #1 | 45778 | 0.41 |  | <0.1 |  | 0.4
T.D02 | DG #2 | 45778 | 3.48 |  | 0.38 |  | 3.1
|  | Exposure Days | 31
* Result Calculated
NS - No Sample
Analysed in accordance with AS3580.10.1

## Dust Observations
ALS COAL DIVISION
BMCC TEST WASTE MANAGEMENT FACILITY
QUARTERLY ANALYSIS AND TESTING REPORT
|  |  |  | Report No. |  | 2400-9999-01
DEPOSITIONAL DUST GAUGE OBSERVATIONS
|  | GAUGE | EXPOSURE DATE | COLLECTION DATE | DAYS EXPOSED | ANALYSIS OBSERVATIONS
|  | T.D01 | 45717 | 45748 | 31 | Slightly cloudy, insects, organic matter.
|  | T.D02 | 45717 | 45748 | 31 | Clear, insects, organic matter.
|  | T.D01 | 45748 | 45778 | 30 | Clear, organic matter.
|  | T.D02 | 45748 | 45778 | 30 | Clear, bird droppings.
|  | T.D01 | 45778 | 45809 | 31 | Cloudy, fine brown dust.
|  | T.D02 | 45778 | 45809 | 31 | Clear, coarse black dust.
Analysed in accordance with AS3580.10.1

## Dust Methodology
DUST METHODOLOGY
Method | Reference
AS3580.10.1 | Depositional dust

## Water Methodology
WATER METHODOLOGY
Method | Reference
AS3580.10.1 | Depositional dust